SECTION 02520 – CONCRETE SIDEWALKS

PART 1 – GENERAL

  - GENERAL CONDITIONS:  The General Conditions and Special Conditions contained in this IFB shall govern this section of the work.

  - WORK INCLUDED:  Furnish all labor, materials, tools, equipment and related items necessary to complete, in place, concrete sidewalks, in conformity with the dimensions, elevations, sections and details shown on the plans.

  - APPLICABLE SECTIONS:  Work shall be in accordance with the following sections of the Standard Specifications, except as amended on the plans and/or in the specifications herewith:

Portland Cement Concrete	Section 39

Sidewalk	Section 42

PART 2 – PRODUCTS

  - MATERIALS:  Materials shall conform to the sections of the Standard Specifications noted hereinbefore.

PART 3 – EXECUTION

  - INSTALLATION:  The Contractor shall be responsible for precisely laying out the sidewalk shown on the contract plans and constructing the sidewalk in accordance with the sections of the Standard Specifications noted hereinbefore.

3.02	CONTRACTION JOINTS:   Divide all sidewalks between expansion joints into sections approximately five (5) feet in length by providing transverse contraction joints.

Whenever sidewalks are greater than seven (7) feet in width, longitudinal contraction joints shall be constructed such that they intersect the transverse contraction joints to form secure uniform blocks that are approximately square.

  - MEASUREMENT AND PAYMENT

Concrete sidewalk shall be measured for payment by the square foot.  Payment shall be made at the unit price bid and shall be full compensation for furnishing the material, tools and labor necessary to complete the work, including preparation of subgrade.

Concrete sidewalk restoration shall not be measured for payment.  Payment shall be included with the unit price bid to install new electrical ductline.

END OF SECTION